## ForUs
CoreType | BatteryFamily | BatteryType | BatteryQty | BatterySpacingMM | MVFamily | MVType | MVOffsetXMM | MVOffsetYMM
A | Battery Container | 20ft | 6 | 7000 | MV Skid | Standard | 18000 | 4000
B | Battery Container | 20ft | 8 | 7000 | MV Skid | Standard | 22000 | 4000
C:\Users\A.Inan\WT Energiespeicher GmbH\Daten - Dokumente\Engineering\Primär\CAD\Revit_Families_Dynamo\NR_CRRC\CRRC_4180kWh_20ft_BatterieContainer.rfa

## ForDynamo
Distance_Local_X | 3050
Distance_Local_Y | 3050
Smartstack_Location | C:\Users\A.Inan\WT Energiespeicher GmbH\Daten - Dokumente\Engineering\Primär\CAD\Revit_Families_Dynamo\Fluence\Smartstack.rfa
MV_Skid_folder_location | C:\Users\A.Inan\WT Energiespeicher GmbH\Daten - Dokumente\Engineering\Primär\CAD\Revit_Families_Dynamo\Fluence\Mv_Skid_Drawing.rfa
amount_of_repeat_in_a_core | 4
Distance_Local_Y_zwitchen_smartstack & MV skid | 3050
Distance_in_x_zwitchen_repeat | 3050

## Cable
height of placing cables | 0
CableCountSystem | 11
Diameter | 35
BendRadius | 70
Clearence | 35
Number of row | 70
Location_Cable_Lifter | C:\Users\A.Inan\WT Energiespeicher GmbH\Daten - Dokumente\Engineering\Primär\CAD\Costum Family\Hängestiel_PFLITSCH GK HS X11 480 S_CableLifter.rfa
Safety_Distance_For_Ss_meeting_point | 0
Safety_Distance_For_MV_meetingpoint | 1300
Safety_Distance_zwitchen_rods | 100
MV start straight length | 100
SS start straight length | 100
Repead_Rod_Spacing | 1000